{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":29,"n_cols":7,"rows_kept":29,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["Part Number","Item","Product URL","Qty","Price","Subtotal","Currency"]
["BST10","Ø1\" 70:30 UVFS Plate Beamsplitter Coating: 400 - 700 nm t = 5 mm ","http://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=4807",1,94,94,"Dollar"]
["DMLP505","Ø1\" Longpass Dichroic Mirror 50% Trans./Refl. at 505 nm","http://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=3313",1,165,165,"Dollar"]
["MLA150-7AR-M","Ø1\" Mounted Lens Array 400 - 900 nm AR Coating Pitch=150 µm f=6.7 mm","http://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=2861",1,430,430,"Dollar"]
["PF10-03-P01","Ø1\" (Ø25.4 mm) Protected Silver Mirror 0.24\" (6.0 mm) Thick","http://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=903",1,50,50,"Dollar"]
["AC254-150-A","f=150.0 mm Ø1\" Achromatic Doublet ARC: 400-700 nm","http://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=120",1,71.3,71.3,"Dollar"]
["AC050-008-A","f=7.5 mm Ø5 mm Achromatic Doublet ARC: 400-700 nm","http://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=120",1,42.5,42.5,"Dollar"]
["AC050-010-A","f=10.0 mm Ø5 mm Achromatic Doublet ARC: 400-700 nm","http://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=120",1,42,42,"Dollar"]
["SM1A9","Adapter with External C-Mount Threads and Internal SM1 Threads","http://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=1524",1,18.75,18.75,"Dollar"]
["SM1A6T","Adapter with External SM1 Threads and Internal SM05 Threads 0.40\" Thick","http://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=1524",2,19.75,39.5,"Dollar"]
["LMRA5","LMR05 or SM05 Adapter for Ø5 mm Optics","http://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=59",2,15,30,"Dollar"]
["SM1ZM","SM1 Zoom Housing for Ø1\" Optics Non-Rotating 4 mm Travel","http://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=4109",1,159.1,159.1,"Dollar"]
["TR4","Ø1/2\" x 4\" Stainless Steel Optical Post 8-32 Stud 1/4\"-20 Tapped Hole","http://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=1266",2,5.87,11.74,"Dollar"]
["SM1TC","Ø1\" (SM1) Series Lens Tube Clamp","http://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=1533",1,40,40,"Dollar"]
["CF125","Small Clamping Fork 1.25\" Counterbored Slot Universal","http://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=241",6,8.75,52.5,"Dollar"]
["PH4E","Pedestal Post Holder Spring-Loaded Hex-Locking Thumbscrew L = 4.19\"","http://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=1268",2,24.5,49,"Dollar"]
["HKTS-5/64","5/64\" (2 mm) Hex Key Thumbscrew (4 Pack)","http://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=1407",1,22.5,22.5,"Dollar"]
["POLARIS-K1-2AH","Hex-Driven Polaris™ Low Drift Ø1\" Kinematic Mirror Mount 2 Adjusters","http://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=3912",3,119,357,"Dollar"]
["RS4P","Ø1.0\" Pedestal Pillar Post 1/4\"-20 Taps Length=4\"","http://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=851",4,34,136,"Dollar"]
["RS1.5","Ø1\" Pillar Post Extension Length=1.5\"","http://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=241",3,21,63,"Dollar"]
["RS1","Ø1\" Pillar Post Extension Length=1\"","http://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=241",3,18.5,55.5,"Dollar"]
["AC254-300-A","f=300.0 mm Ø1\" Achromatic Doublet ARC: 400-700 nm","http://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=120",1,71.3,71.3,"Dollar"]
["AC050-015-A","f=15.0 mm Ø5 mm Achromatic Doublet ARC: 400-700 nm","http://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=120",1,42,42,"Dollar"]
["RS2","Ø1\" Pillar Post Extension Length=2\"","http://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=241",1,21.5,21.5,"Dollar"]
["RS8M","Ø25.0 mm Pillar Post Spacer Thickness = 8 mm","http://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=241",1,7.9,7.9,"Dollar"]
["RS1M","Ø25.0 mm Pillar Post Spacer Thickness = 1 mm","http://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=241",1,6.3,6.3,"Dollar"]
["RS2M","Ø25.0 mm Pillar Post Spacer Thickness = 2 mm","http://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=241",1,6.55,6.55,"Dollar"]
["RS4M","Ø25.0 mm Pillar Post Spacer Thickness = 4 mm","http://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=241",1,7.15,7.15,"Dollar"]
["RS7M","Ø25.0 mm Pillar Post Spacer Thickness = 7 mm","http://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=241",1,7.75,7.75,"Dollar"]